## Main
Whitewater Watershed
VBMP and QBMP worksheets
These worksheets are to be used to determine the required Design Capture Volume (VBMP) or the Design Flow Rate (QBMP) for BMPs in the Whitewater Watershed
To verify which watershed your project is located within, visit
www.rcflood.org/npdes
and use the 'Locate my Watershed' tool
If your project is not located in the Whitewater Watershed,
Do not use these worksheets! Instead visit
www.rcflood.org/npdes/developers.aspx
To access worksheets applicable to your watershed
Use the tabs across the bottom
to access the worksheets for the Whitewater Watershed

## VBMP
Whitewater Watershed BMP Design Volume, VBMP (Rev. 06-2014) |  |  |  | Legend: |  | Required Entries |  |  | #REF! | #REF!
[6 empty] | Calculated Cells |  |  | #REF! | #REF!
Company Name |  |  |  |  | Date |  |  |  | #REF! | #REF!
Designed by |  |  |  | County/City Case No |  |  |  |  | #REF! | #REF!
Company Project Number/Name | [8 empty] | #REF! | #REF!
Drainage Area Number/Name | [8 empty] | #REF! | #REF!
[9 empty] | #REF! | #REF!
Enter the Area Tributary to this Feature (ATRIB) |  |  |  | ATRIB = | acres |  |  |  | #REF! | #REF!
[9 empty] | #REF! | #REF!
Determine the Impervious Area Ratio | [8 empty] | #REF! | #REF!
[9 empty] | #REF! | #REF!
| Determine the Impervious Area within ATRIB (AIMP) |  |  |  | AIMP = |  | acres |  | #REF! | #REF!
| Calculate Impervious Area Ratio (If) |  |  |  | If = |  |  | #REF! | #REF! | #REF!
| If = AIMP/ATRIB | [7 empty] | #REF! | #REF!
[9 empty] | #REF! | #REF!
Calculate the composite Runoff Coefficient, C for the BMP Tributary Area | [8 empty] | #REF! | #REF!
[9 empty] | #REF! | #REF!
Use the following equation based on the WEF/ASCE Method
| CBMP = 0.858If3 - 0.78If2 + 0.774If + 0.04 |  |  |  | CBMP =
Determine Design Storage Volume, VBMP
| Calculate VU, the 80% Unit Storage Volume VU= 0.40 x CBMP |  |  |  | Vu = |  | (in*ac)/ac
Calculate the design storage volume of the BMP, VBMP.
| VBMP (ft3)= | VU (in-ac/ac) x AT (ac) x 43,560 (ft2/ac) |  |  | VBMP = |  | ft3
12 (in/ft)
Notes:

## QBMP
Whitewater Watershed BMP Design Flow Rate, QBMP (Rev. 06-2014) |  | Legend: |  |  | Required Entries |  |  | #REF! | #REF!
[5 empty] | Calculated Cells |  |  | #REF! | #REF!
Company Name |  |  |  | Date |  |  |  | #REF! | #REF!
Designed by |  | County/City Case No | [5 empty] | #REF! | #REF!
Company Project Number/Name | [7 empty] | #REF! | #REF!
Drainage Area Number/Name | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Enter the Area Tributary to this Feature (ATRIB) |  | ATRIB = |  | acres |  |  |  | #REF! | #REF!
[8 empty] | #REF! | #REF!
Determine the Impervious Area Ratio | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
| Determine the Impervious Area within ATRIB (AIMP) |  |  | AIMP = |  | acres |  | #REF! | #REF!
| Calculate Impervious Area Ratio (If) |  |  | If = |  |  | #REF! | #REF! | #REF!
| If = AIMP/ATRIB | [6 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Calculate the composite Runoff Coefficient, C for the BMP Tributary Area | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Use the following equation based on the WEF/ASCE Method
| CBMP = 0.858If3 - 0.78If2 + 0.774If + 0.04 |  |  | CBMP =
BMP Design Flow Rate
| QBMP = CBMP x I x ATRIB |  | QBMP = |  |  | ft3/s
I = Design Rainfall Intensity, 0.2 in/hr
Notes: